## Sheet1
MATERIAL TAKEOFF AND COST ESTIMATE
Job Name | Electrical Estimate
Location | - |  |  | Customer ID | -
Contact | - |  |  | Quote No. | -
Email | - |  |  | Date | -
Sr # | DRAWING REF. | DETAIL REF. | DESCRIPTION | QUANTITY | WASTAGE | TOTAL QTY | UOM | COST/UNIT | TOTAL ITEM COST | REMARKS | TRADE COST
26. ELECTRICAL | [10 empty] | 41238.76
Lighting Fixtures
1 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | 2X2 Fluorescent Lighting Fixture | 77 | 0% | 77 | EA | 166.74 | 12838.98
2 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | Ceiling Mounted Recessed Down Lights | 68 | 0% | 68 | EA | 52.44 | 3565.92
3 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | Emergency Exit Sign | 13 | 0% | 13 | EA | 107 | 1391
4 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | Wall Mounted Emergency Light | 17 | 0% | 17 | EA | 156 | 2652
5 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | Step Lights | 12 | 0% | 12 | EA | 10 | 120
6 | E2.1, E2.2 | LIGHT FIXTURE SCHEDULE | Surface Light | 27 | 0% | 27 | EA | 17.3 | 467.1
Electrical Power Fixtures
7 | E2.3, E2.4 | - | 4'X8'X3/4" Telephone Board | 1 | 0% | 1 | EA | 75.91 | 75.91
8 | E2.3, E2.4 | - | Disconnect Switch | 3 | 0% | 3 | EA | 33.13 | 99.39
9 | E2.3, E2.4 | - | Duplex Outlet Receptacle | 47 | 0% | 47 | EA | 130 | 6110
10 | E2.3, E2.4 | - | Junction Box 4" Square | 5 | 0% | 5 | EA | 23 | 115
11 | E2.3, E2.4 | - | Motor | 4 | 0% | 4 | EA | 794 | 3176
12 | E2.3, E2.4 | - | Motor With Disconnect Switch | 3 | 0% | 3 | EA | 825 | 2475
13 | E2.3, E2.4 | - | Duplex Outlet Receptacle Ground Fault Interrupter | 9 | 0% | 9 | EA | 17.63 | 158.67
14 | E2.3, E2.4 | - | Quad-Plex Receptacle | 1 | 0% | 1 | EA | 46.97 | 46.97
15 | E2.3, E2.4 | - | Duplex Outlet Receptacle Ground Fault Interrupter Weatherproof | 6 | 0% | 6 | EA | 234.55 | 1407.3
16 | E2.3, E2.4 | - | Telephone/Data Outlet | 6 | 0% | 6 | EA | 115 | 690
17 | E2.3, E2.4 | - | Television Outlet | 8 | 0% | 8 | EA | 110 | 880
18 | E2.3, E2.4 | - | Toggle Type Wall Switch | 4 | 0% | 4 | EA | 30.56 | 122.24
19 | E2.3, E2.4 | - | Toggle Type Wall Switch 3-Way | 8 | 0% | 8 | EA | 38.52 | 308.16
20 | E2.3, E2.4 | - | Toggle Type Wall Switch 4-Way | 2 | 0% | 2 | EA | 40.2 | 80.4
21 | E2.3, E2.4 | - | New 20 Amp Power Pack That Is Controlled By The Occupancy Sensor. Watt Stopper #Bz-50 | 7 | 0% | 7 | EA | 55 | 385
22 | E2.3, E2.4 | - | New Low Volt Ceiling Mounted Occupancy Sensor To Control The Power Pack. Watt Stopper #Dt-350 | 13 | 0% | 13 | EA | 69.5 | 903.5
23 | E2.3, E2.4 | - | Wall Switch W/ 3-Way Occupancy Sensor & Built In Power Pack. Watt Stopper #Pw-100 | 2 | 0% | 2 | EA | 40 | 80
24 | E2.3, E2.4 | - | Wall Switch W/ Occupancy Sensor & Built In Power Pack. Watt Stopper #Pw-100 | 14 | 0% | 14 | EA | 41.98 | 587.72
Electrical Panels
25 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electrical Panel, Voltage: 120/208V, Phase: 3-Phase, 4-Wire, Amp Bus: 400 | 1 | 0% | 1 | EA | 1373.5 | 1373.5
26 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electrical Panel, Voltage: 120/208V, Phase: 3-Phase, 4-Wire, Amp Bus: 100 | 1 | 0% | 1 | EA | 1129 | 1129
27 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electric sub Panels | 30 | 0% | 30 | EA | 554.7 | 16641
28 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electric Panel, 3 Phase, 100 Ampere | 1 | 0% | 1 | EA | 1165.515 | 1165.515
29 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electric Panel, 3 Phase, 200 Ampere | 3 | 0% | 3 | EA | 1414.356 | 4243.068
30 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electric Panel, 3 Phase, 400 Ampere | 3 | 0% | 3 | EA | 2021.043 | 6063.129
31 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Main Switch, 3Phase, 1600 Ampere | 1 | 0% | 1 | EA | 12827.2698 | 12827.2698
32 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Circuit Braker, 3 Phase, 100 Ampere | 1 | 0% | 1 | EA | 452.7255 | 452.7255
33 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Circuit Braker, 3 Phase, 200 Ampere | 2 | 0% | 2 | EA | 1599.342 | 3198.684
34 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Circuit Braker, 3 Phase, 400 Ampere | 1 | 0% | 1 | EA | 2811.8388 | 2811.8388
35 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Circuit Braker, 3 Phase, 600 Ampere | 1 | 0% | 1 | EA | 4617.7872 | 4617.7872
36 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Circuit Braker, 3 Phase, 800 Ampere | 1 | 0% | 1 | EA | 6049.6872 | 6049.6872
37 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electric Meters | 5 | 0% | 5 | EA | 2820.6882 | 14103.441
38 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electrical Closets, 2 Phase, 125 Ampere | 3 | 0% | 3 | EA | 1291.1868 | 3873.5604
39 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Main Distribution Panel, 1600 Ampere, 3 Phase, 100 Ampere | 1 | 0% | 1 | EA | 14190 | 14190
40 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Splitter, 4 Phase, 800 Ampere | 1 | 0% | 1 | EA | 554.7 | 554.7
28. ELECTRONIC SAFETY AND SECURITY | [10 empty] | 45783.2904
Fixtures
41 | E4.0 | - | Fire Alarm Bell | 16 | 0% | 16 | EA | 134.0439 | 2144.7024
42 | E4.0 | - | Fire Alarm Buzz | 10 | 0% | 10 | EA | 129 | 1290
43 | E4.0 | - | Fire Alarm Flow Switch | 66 | 0% | 66 | EA | 213.85 | 14114.1
44 | E4.0 | - | Fire Alarm Manual Pull Station | 18 | 0% | 18 | EA | 66.4221 | 1195.5978
45 | E4.0 | - | Fire Alarm Remote Annunciator Panel | 1 | 0% | 1 | EA | 1214.0448 | 1214.0448
46 | E4.0 | - | Fire Alarm Smoke Alarm | 68 | 0% | 68 | EA | 101.0586 | 6871.9848
47 | E4.0 | - | Fire Alarm Smoke Detectors | 74 | 0% | 74 | EA | 221.8542 | 16417.2108
48 | E4.0 | - | Fire Alarm Tamper Switch | 10 | 0% | 10 | EA | 154.8 | 1548
49 | E4.0 | - | Fire Alarms Heat Detector | 1 | 0% | 1 | EA | 987.6498 | 987.6498
|  |  |  | Sub Total |  |  |  |  | 177814.4563 |  | 87022.0504
|  |  |  | Over Heads & Profit @ (25%) |  |  |  |  | 44453.6141 |  | 21755.5126
|  |  |  | Net Total |  |  |  |  | 222268.0704 |  | 108777.563