## Sheet1
MATERIAL TAKEOFF AND COST ESTIMATE
Job Name | BURGERIM RESTAURANT Tracy CA
Location | 2469 NAGLEE RD, TRACY, CA 95304 ALMA ROBLES & ARMANDO BAUTISTA | Customer ID
Contact |  | Quote No.
Email |  | Date
Sr # | DESCRIPTION | QUANTITY | WASTAGE | TOTAL QTY | UOM | COST/UNIT | TOTAL ITEM COST | REMARKS | TRADE COST
03. CONCRETE | [8 empty] | 100922.856
Concrete For Slab
1 | 4" (Min.) Thick Concrete Slab W/ 6X6/W1.4X 1.4 W.W.M. On 6 Mil. Visqueen On Well Compacted (2500 Psf Min.) Termite Treated Soil | 509 | 5% | 534.45 | SF | 7.2 | 3848.04
2 | 4" Concrete Slab W/ 6"X6"/ W1.4X W1.4 W.W.M. On Exterior Grade High Density Foam Insert. Attach With 12" Long #5 Bars @24" O.C. Doweled And Epoxied Into Filled Masonry Walls (4" Min. Embed.) | 453 | 5% | 475.65 | SF | 7.2 | 3424.68
3 | 4" Concrete Slab With 8" Thickened Edge W/ (1) #5 Bar On Grade W/6"X6"/ W1.4X W1.4 W.W.F. On 6 Mil. Poly Vapor Barrier On Well Compacted Termite Treated Soil | 1009 | 5% | 1059.45 | SF | 7.2 | 7628.04
4 | 6" (5000 Psi Min.) Concrete Slab With 6"X6" /W1.4X W1.4 W.W.M. On 6 Mil. Visqueen On Termite Treated Soil (2500 Psf Min.) W/ #4 Bars @12" O.C. Each Way Additional Reinforcement | 244 | 5% | 256.2 | SF | 7.6 | 1947.12
Concrete For Foundation
5 | Concrete Foundation Reinforced W/ (1) #5 Continuous Top And (3) #5 Continuous Bottom W/ #5 Transvers Bars @12" O.C. | 6.48 | 8% | 6.9984 | CY | 750 | 5248.8
6 | Formed And Poured Concrete Footing (5000 Psi Min.) (3) #5 Bars Continuous Top W/ #5 Transvers Bars @12" O.C. Bottom | 50.48 | 8% | 54.5184 | CY | 750 | 40888.8
7 | Concrete Monolithic Mat Foundation (6000 Psi Min.) With 1 Layer Top And 1 Layer Bottom Reinforcing (#5 Bars @12" O.C. Each Way) | 46.22 | 8% | 49.9176 | CY | 760 | 37937.376
04. MASONRY | [8 empty] | 43565.522
8 | 12" Concrete Masonry Unit Block Wall W/ (1) #5 Vertical Bars @24" O.C. And 3000 Psi Coarse Masonry Grout Filled Knock Out W/ Ladder Type #9 Ga. Dur-A-Wall @Each Coarse | 809 | 10% | 889.9 | SF | 11.03 | 9815.597
9 | 8" Concrete Masonry Unit Block Wall W/ (1) #5 Vertical Bars @24" O.C. And 3000 Psi Coarse Masonry Grout Filled Knock Out W/ Ladder Type #9 Ga. Dur-A-Wall @Each Coarse | 3719 | 10% | 4090.9 | SF | 8.25 | 33749.925
05. METALS | [8 empty] | 15824.325
Wall Studs
10 | 5-1/2" Steel Studs @ 24" O.C | 1015 | 10% | 1116.5 | SF | 2.01 | 2244.165
11 | 3 5/8" Metal Studs @ 24" O.C | 1240 | 10% | 1364 | SF | 1.58 | 2155.12
12 | 1 5/8" Metal Furring @ 24" O.C | 2552 | 10% | 2807.2 | SF | 1.2 | 3368.64
Metal Track
13 | 3-5/8" Metal Top Track | 183 | 10% | 201.3 | LF | 4 | 805.2
14 | 3-5/8" Metal Bottom Track | 183 | 10% | 201.3 | LF | 3.6 | 724.68
15 | 5-1/2" Metal Top Track | 112 | 10% | 123.2 | LF | 4.1 | 505.12
16 | 5-1/2" Metal Bottom Track | 112 | 10% | 123.2 | LF | 3.7 | 455.84
17 | 1-5/8" Metal Top Track | 284 | 10% | 312.4 | LF | 1.8 | 562.32
18 | 1-5/8" Metal Bottom Track | 284 | 10% | 312.4 | LF | 1.5 | 468.6
19 | 5/8"X10" Steel Flitch Plate, (6) 1/2" Dia X 6" Long Epcon Epoxy Threaded Rods @10-1/2" O.C. | 29 | 10% | 31.9 | LF | 5.6 | 178.64
20 | Steel Beam W8X35 | 99 | 10% | 108.9 | LF | 40 | 4356
06. WOOD, PLASTICS AND COMPOSITES | [8 empty] | 35762
21 | 1.75"X14" Laminated Veneer Lumber | 18 | 10% | 19.8 | LF | 14.2 | 255.6
22 | 2X12 Pressure Treaded Ripped | 46 | 10% | 50.6 | LF | 12 | 552
23 | 2X12 Wood Beam W/ 1/2" Plywood Gussets | 6 | 10% | 6.6 | LF | 12.2 | 73.2
24 | 2X6 Pressure Treated Plate Fasten To Footing W/ 5/8"Dia X 8" Long (Min.) Expansion Bolt @16" O.C. | 43 | 10% | 47.3 | LF | 6.8 | 292.4
25 | 2X8 Pressure Treated Ledger Attached To Beam Or Grout Cell With Epoxy Set 5/8" Dia All Threaded @12" O.C. Staggered 4" Amd From The Ends | 42 | 10% | 46.2 | LF | 7.3 | 306.6
Joists, Rafters And Trusses
26 | 4X6 Cypress Rafters @24" O.C. | 220 | 10% | 242 | SF | 5.2 | 1144
27 | New Pre-Engineered Wood Trusses @24" O.C. Bracing Per Truss Manufacturer | 1995 | 10% | 2194.5 | SF | 2.4 | 4788
Wall Studs
28 | 2X4 Pressure Treated Wood Studs @ 16" O.C | 401 | 10% | 441.1 | SF | 2.2 | 882.2
OSB
29 | 90# Felt Hot Mopped Over 30# Felt Tin Tagged To 3/4" Cdx Plywood Sheathing Attached With 10D Ring Shank Nails @6" O.C. Ay Field And 4" O.C. At Edges All Zones And Through Aut Zone 3 | 6012 | 10% | 6613.2 | SF | 4 | 24048
Cabinetry And Millwork
30 | 2'-6" Long X 2'-0" Deep X 3'-0" High Built In Cabinets | 4 | 10% | 4.4 | EA | 450 | 1800
31 | 3'-0" Long X 1'-0" Deep X 3'-0" Wall Base Cabinets | 2 | 10% | 2.2 | EA | 360 | 720
32 | 3'-0" Long X 2'-0" Deep X 3'-0" High Base Cabinet | 2 | 10% | 2.2 | EA | 450 | 900
07. THERMAL AND MOISTURE CONDITIONS | [8 empty] | 31481.2
33 | Clay Barrel Tile Roofing | 2215 | 10% | 2436.5 | SF | 5.08 | 11252.2
34 | Spray In Foam Insulation (Install Per Manufacturer Specification) | 2215 | 10% | 2436.5 | SF | 1.8 | 3987
35 | Copper Drip | 337.6 | 10% | 371.36 | LF | 35 | 11816
36 | Sound Attenuation Batt Insulation | 1064 | 10% | 1170.4 | SF | 2.2 | 2340.8
37 | 5.5 Sound Batt Insulation | 401 | 10% | 441.1 | SF | 5.2 | 2085.2
08. OPENINGS | [8 empty] | 22323
Doors
38 | 2'-10" X 7'-6" Door | 11 | 0% | 11 | EA | 720 | 7920
39 | 3'-0" X 7'-6" Door | 11 | 0% | 11 | EA | 750 | 8250
40 | 6'-0" X 6'-10" Door | 1 | 0% | 1 | EA | 650 | 650
41 | 9'-0" X 7'-6" Door | 1 | 0% | 1 | EA | 850 | 850
Windows
42 | 30" X 72" Fiberglass Wood Arched Mahogany Windows With Decorative Hinged Wood Shutters | 3 | 0% | 3 | EA | 437 | 1311
43 | 40"X66" Double Casement Wood Mahogany Windows With Decorative Hinged Wood Shutters With Shutters With Shutter Dogs Paint Finish: Green | 6 | 0% | 6 | EA | 557 | 3342
09. FINISHES | [8 empty] | 32707.546
Dry Walls
44 | 5/8" Gypsum Wall Board | 4928 | 10% | 5420.8 | SF | 2.13 | 10496.64
Floor Finishes
45 | 6"x6" Quarry Tile Flooring, Manufacturer: Daltile, Model@ 0Q42 | 708 | 10% | 778.8 | SF | 8.71 | 6166.68
46 | Epoxy Flooring, Manufacturer: Versatile, Model# LAVA Flow, Color: Manatee, Finish: 4800HD | 1507 | 10% | 1657.7 | SF | 2.4 | 3616.8
Ceiling Materials
47 | 2'-0"x4'-0" Smooth, Non Absorbent, Washable Lay-In Acoustic Tile-USG Climplus Performance Ceiling | 141 | 10% | 155.1 | SF | 6.54 | 922.14
48 | Prime and Paint on Existing Gypsum Wall Board Ceiling | 2074 | 10% | 2281.4 | SF | 2.24 | 4645.76
Wall Finishes
49 | Fiber Reinforced Panel, Manufacturer: Martile, Model: P-100 PEBBLE, Finish: White | 344 | 10% | 378.4 | SF | 6.16 | 2119.04
50 | Stainless Steel, Model: OPCI | 13 | 10% | 14.3 | SF | 42.29 | 549.77
51 | Wall Paint, Manufacturer: Behr Ultra, Model: 375301-3035001 , Color: White-Black, Finish: Semi-Gloss | 198 | 10% | 217.8 | SF | 0.65 | 128.7
52 | Wall Paint, Manufacturer: Behr Ultra, Model: PPU18-09 , Color: Burnished Clay, Finish: Eggshell/Stain | 1835 | 10% | 2018.5 | SF | 0.65 | 1192.75
53 | Wall Paint, Manufacturer: Behr Ultra, Model@ PMS 152C , Color: Orange, Finish: Semi Gloss | 156 | 10% | 171.6 | SF | 0.65 | 101.4
Base, Crown And Trim
54 | 6"x6" Ceramic Tile Top Base 3/8" R, Manufacturer: Daltile, Model# Series: Quarry Textures Grout: Dark Gray Sanded 3/8" Grout Joint-S1 | 183.68 | 10% | 202.048 | LF | 7.45 | 1368.416
55 | 6" Straight Vinyl Base, Manufacturer: Flexco, Model: Base 2000 | 215.3 | 10% | 236.83 | LF | 6.5 | 1399.45
10. SPECIALTIES | [8 empty] | 28479.124
56 | 8" Of 3/4" Drain Rock In Marafi 1400 Filter Wrap | 227 | 10% | 249.7 | CY | 8.3 | 1884.1
57 | Potting Soil | 952 | 10% | 1047.2 | CY | 6.2 | 5902.4
4'X2' Decorative Wall Fountain
58 | 10" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 55 | 55
59 | 28" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 70.3 | 70.3
60 | 6" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 48.3 | 48.3
61 | Cast Stone | 3 | 10% | 3.3 | SF | 45 | 135
62 | Ceramic Spanish Tile White And Blue Checked Pattern | 6 | 10% | 6.6 | SF | 14.8 | 88.8
63 | Ceramic Spanish Tile White And Blue Quatrefoil On White Field | 4 | 10% | 4.4 | SF | 16.1 | 64.4
Toilet Accessories
64 | 2'-0" X 3'-0" Tempered Glass Mirror | 4 | 0% | 4 | EA | 105 | 420
65 | 3'-0" Long Grab Bars | 4 | 0% | 4 | EA | 50.53 | 202.12
66 | 3'-6" Long Grab Bars | 4 | 0% | 4 | EA | 53.4 | 213.6
67 | 2'-0" Dia Decorative Vent | 1 | 0% | 1 | EA | 23.07 | 23.07
68 | 2'-0" Wall Clock @ Exterior | 1 | 0% | 1 | EA | 107.33 | 107.33
69 | 36" High Aluminum Handrail | 478.71 | 10% | 526.581 | LF | 38.4 | 18382.464
70 | Fire Extinguishers | 4 | 0% | 4 | EA | 220.56 | 882.24
11. EQUIPMENTS | [8 empty] | 68464.87
71 | 15.5"X29.5"X45" Fryer, Manufacturer: Dean, Model# Sr52 G | 2 | 0% | 2 | EA | 1250 | 2500
72 | 22"X38"X22", Fry Holding Station, Manufacturer: Hatco Corporation, Model# Grfhs-Ptt21 | 1 | 0% | 1 | EA | 1750 | 1750
73 | 23.5"X21"X15.5", 24" Flat Griddle, Manufacturer: Imperial, Model# Mga-2428 | 1 | 0% | 1 | EA | 1200 | 1200
74 | 36.5"X39"X34", Broiler, Manufacturer: Neico, Model# Neico | 1 | 0% | 1 | EA | 1500 | 1500
75 | 14"X23"X14", Toaser, Manufacturer: Vollrath, Model# Ct4-208800 | 1 | 0% | 1 | EA | 1800 | 1800
76 | 4'0"X6'0", Hood, Manufacturer: Accurex | 2 | 0% | 2 | EA | 850 | 1700
77 | 22"X27"X37", Ice Maker, Manufacturer: Hoshizaki America, Inc., Model# Km-600Mah | 1 | 0% | 1 | EA | 3200 | 3200
78 | 73"X25"X35", Coke Freestyle, Manufacturer: Coke Solutions, Model# Self-Serve 9000 | 1 | 0% | 1 | EA | 5000 | 5000
79 | 12.5"X9"X20.5", Triple Mixer, Manufacturer: Hamilton Beach, Model# Hmd400 | 1 | 0% | 1 | EA | 800 | 800
80 | 58" Led Flat Screen, Manufacturer: Samsung | 7 | 0% | 7 | EA | 750 | 5250
81 | P.O.S Station | 2 | 0% | 2 | EA | 260 | 520
82 | Kitchen Display System | 4 | 0% | 4 | EA | 2500 | 10000
83 | 18X24X74 5-Tier Wire Shelving | 2 | 0% | 2 | EA | 200 | 400
84 | Printer | 4 | 0% | 4 | EA | 220 | 880
85 | 10"X3.5"X2.5" Fry Timer, Manufacturer: Fast Zip, Model: Fmp 151-1044 | 2 | 0% | 2 | EA | 100 | 200
86 | Self Contained Walk-In Cooler | 1 | 0% | 1 | EA | 6500 | 6500
87 | 58"X27"X37"Underbar Refrigeration Solid Swing Door Stainless Steel Back Bar Cooler, Manufacturer: True Food Service Equipment, Inc., Model# Tbb-2-S | 1 | 0% | 1 | EA | 2200 | 2200
88 | 90"X27"X37", 3 Dr. Underbar Refrigerator Beer Dispenser, Manufacturer: True Food Service Equipment, Inc., Model# Tdd-4 | 1 | 0% | 1 | EA | 1200 | 1200
89 | 27 5/8"X22"X29 3/4", 1 Door Under Counter Freezer, Manufacturer: True Food Service Equipment, Inc., Model# Tuc-27F-Hc | 1 | 0% | 1 | EA | 950 | 950
90 | 72"X32"X20", Chef Base, Manufacturer: True Food Service Equipment, Inc., Model# Trcb-72 | 1 | 0% | 1 | EA | 5362 | 5362
91 | 72.7"W X 30"D X 43.7"H, Food Prep Unit, Manufacturer: True Food Service Equipment, Inc., Model# Tfp-72-30M | 1 | 0% | 1 | EA | 2984 | 2984
92 | 30"X30"X32", Ice Cream Dipping Cabinet, Manufacturer: Maserbilt, Model# Flr-60 | 1 | 0% | 1 | EA | 438 | 438
93 | 12" Bowl, 3 Compartment Underbar Sink, Manufacturer: Krowne, Model# Cs-1860 | 1 | 0% | 1 | EA | 520 | 520
94 | 9" Bowl Hand Sink, Manufacturer: Advance Tabco, Model# 7-Ps-23 | 3 | 0% | 3 | EA | 220 | 660
95 | 7"X14" Dipperwell Assembly W/ Faucet, Manufacturer: Krowne, Model# 16-150 & 16-151L | 1 | 0% | 1 | EA | 950 | 950
96 | 13"X19"X10", Dump Sink, Manufacturer: Advance Tabco, Model# Di-1-10 | 1 | 0% | 1 | EA | 280 | 280
97 | 18" Bowl 3 Compartment Sink, Manufacturer: Gsw, Model# Se18183D | 1 | 0% | 1 | EA | 495 | 495
98 | Mop Service Basin, Manufacturer: Zurn Industries, Llc, Model# Z1996-24 | 1 | 0% | 1 | EA | 200 | 200
99 | 18" Bowl Prep Sink, Manufacturer: Tabco, Model# Fe-1-1812-18L-X | 1 | 0% | 1 | EA | 263.87 | 263.87
100 | 30X48" Condiment Counter, Manufacturer: Advance Tabco, Model# Cb-Ss-304M | 1 | 0% | 1 | EA | 800 | 800
101 | Co2 Tank, Manufacturer: Coca Cola | 2 | 0% | 2 | EA | 480 | 960
102 | 16X18 Syrup Rack, Manufacturer: Coca Cola | 1 | 0% | 1 | EA | 200 | 200
103 | 12X24X74, 5-Tier Wire Shelving | 4 | 0% | 4 | EA | 160 | 640
104 | 18X24X74, 5-Tier Wire Shelving | 1 | 0% | 1 | EA | 180 | 180
105 | 18X30X74, 5-Tier Wire Shelving | 1 | 0% | 1 | EA | 220 | 220
106 | 18X42X74, 5-Tier Wire Shelving | 7 | 0% | 7 | EA | 280 | 1960
107 | 18X48X74, 5-Tier Wire Shelving | 4 | 0% | 4 | EA | 350 | 1400
108 | 30"X30", Custom Ss Table, Manufacturer: Gsw, Model# Wt-P3030B | 1 | 0% | 1 | EA | 238 | 238
109 | 30X48, Stainless Steel Table, Manufacturer: Gsw, Model# Wt-P3030B | 3 | 0% | 3 | EA | 450 | 1350
110 | Employee Lockers, Manufacturer: Bradley Corporation, Model# Lenox | 1 | 0% | 1 | EA | 650 | 650
111 | 1'10"X2'0"X3'5", Trash | 1 | 0% | 1 | EA | 30 | 30
112 | Grab Bars | 2 | 0% | 2 | EA | 67 | 134
12. FURNISHING | [8 empty] | 2013.14
113 | Granite Counter Top | 31 | 10% | 34.1 | SF | 64.94 | 2013.14
22. PLUMBING | [8 empty] | 1896.2224
Plumbing Fixtures
114 | Floor Drain, Make/Model: J.R Smith 2005Y | 1 | 0% | 1 | EA | 60 | 60
115 | Floor Sink, Make/Model: J.R. Smith 3430 | 3 | 0% | 3 | EA | 350 | 1050
Plumbing Valves
116 | Tempering Valve, Make/Model: Watts KFUSG-B-SC-M2 Thermostatic Mixing Valve | 3 | 0% | 3 | EA | 42.35 | 127.05
117 | Trap Primer Valve, Make/Model: PPP Prime-Rite PR-500 | 1 | 0% | 1 | EA | 93.75 | 93.75
Pipes
118 | 1 1/2" Pipe | 24.41 | 10% | 26.851 | LF | 2.71 | 66.1511
119 | 1" Pipe | 4.48 | 10% | 4.928 | LF | 1.96 | 8.7808
120 | 1/2" Pipe | 40.98 | 10% | 45.078 | LF | 1.25 | 51.225
121 | 2" Pipe | 100.44 | 10% | 110.484 | LF | 3.26 | 327.4344
122 | 3/4" Pipe | 71.23 | 10% | 78.353 | LF | 1.57 | 111.8311
23. MECHANICAL/HVAC | [8 empty] | 515
Mechanical Grille And Diffusers
123 | 24"x24" Diffuser, 2500CFM, Manufacturer: Titus TDC | 1 | 0% | 1 | EA | 30 | 30
124 | 24"x24" Diffuser, 285CFM, Manufacturer: Titus TDC | 10 | 0% | 10 | EA | 30 | 300
Mechanical Air Devices
125 | Temperature Sensor | 1 | 0% | 1 | EA | 50 | 50
126 | Thermostat | 1 | 0% | 1 | EA | 135 | 135
26. ELECTRICAL | [8 empty] | 14663.2
Lighting Fixtures
127 | 2'x2' Recessed Lay in Flat Panel Light Fixture, Lamp Type: 30W LED, Manufacturer/Model: CLI-NABIMCL7 | 3 | 0% | 3 | EA | 45 | 135
128 | 2'x4' Recessed Flat Lay in Light Fixture, Lamp Type: 40W LED, Manufacturer/Model# CLI-NABIMCL1, | 15 | 0% | 15 | EA | 75 | 1125
129 | Decorative Lamp holder Pendant with LED Edison Bulb, Lamp Type: 40W LED, Manufacturer/Model# CLI-NABIMCL7 | 5 | 0% | 5 | EA | 20 | 100
Electrical Power Fixtures
130 | Ceiling Mounted Duplex Receptacle | 2 | 0% | 2 | EA | 62.6 | 125.2
131 | Data Outlet | 16 | 0% | 16 | EA | 85 | 1360
132 | Day Light Sensor | 1 | 0% | 1 | EA | 52 | 52
133 | Dimmer Switch | 5 | 0% | 5 | EA | 65.8 | 329
134 | Disconnect Switch | 4 | 0% | 4 | EA | 1500 | 6000
135 | Duplex Receptacle, Nema 5-15R | 27 | 0% | 27 | EA | 80 | 2160
136 | Duplex Receptacle, Nema 6-20R | 1 | 0% | 1 | EA | 80 | 80
137 | Ground Fault Circuit Interrupter Duplex Receptacle | 2 | 0% | 2 | EA | 70 | 140
138 | Junction Box | 7 | 0% | 7 | EA | 291 | 2037
139 | Light Switch | 5 | 0% | 5 | EA | 120 | 600
140 | Quad Receptacle | 3 | 0% | 3 | EA | 140 | 420
|  | Sub Total |  |  |  |  | 398618.0054 |  | 398618.0054
|  | Over Heads & Profit @ (25%) |  |  |  |  | 99654.5014 |  | 99654.5014
|  | Net Total |  |  |  |  | 498272.5068 |  | 498272.5068