## Sheet1
MATERIAL TAKEOFF AND COST ESTIMATE
Job Name | Sample Estimate
Location | - |  |  | Customer ID | -
Contact | - |  |  | Quote No. | -
Email | - |  |  | Date | -
Sr # | DRAWING REF. | DETAIL REF. | DESCRIPTION | QUANTITY | WASTAGE | TOTAL QTY | UOM | COST/UNIT | TOTAL ITEM COST | REMARKS | TRADE COST
02. EXISTING CONDITIONS | [10 empty] | 47302.776
Demolition
1 | D1.0 |  | Removal Of Existing Concrete Slab | 2975 | 0% | 2975 | SF | 5.3 | 15767.5
2 | D1.0 |  | Removal Of Existing Roof Structural Trusses | 3667 | 0% | 3667 | SF | 1.2 | 4400.4
3 | D1.0 |  | Removal Of Existing Structural Plywood Sheathing | 3451 | 0% | 3451 | SF | 0.6 | 2070.6
4 | D1.0 |  | Removal Of Existing Tile Roofing | 3451 | 0% | 3451 | SF | 0.6 | 2070.6
5 | D1.0 |  | Removal Of Existing Canopy | 51 | 0% | 51 | SF | 31.43 | 1602.93
6 | D1.0 |  | Removal Of Existing Casework | 11.17 | 0% | 11.17 | LF | 44 | 491.48
7 | D1.0 |  | Removal Of Existing Concrete Side Walk | 224 | 0% | 224 | SF | 5.4 | 1209.6
8 | D1.0 |  | Removal Of Existing Concrete Steps | 85 | 0% | 85 | SF | 9.4 | 799
9 | D1.0 |  | Removal Of Existing Doors | 8 | 0% | 8 | EA | 29.82 | 238.56
10 | D1.0 |  | Removal Of Existing Exterior Walls | 1024.47 | 0% | 1024.47 | SF | 3.2 | 3278.304
11 | D1.0 |  | Removal Of Existing Interior Partitions | 1838.34 | 0% | 1838.34 | SF | 2.8 | 5147.352
12 | D1.0 |  | Removal Of Existing Path | 200 | 0% | 200 | SF | 5.4 | 1080
13 | D1.0 |  | Removal Of Existing Pavers | 60 | 0% | 60 | SF | 3.92 | 235.2
14 | D1.0 |  | Removal Of Existing Planters | 4 | 0% | 4 | EA | 200 | 800
15 | D1.0 |  | Removal Of Existing Windows | 14 | 0% | 14 | EA | 12 | 168
16 | D1.0 |  | Removal Of Exiting Flooring | 2975 | 0% | 2975 | SF | 2.67 | 7943.25
03. CONCRETE | [10 empty] | 152667.716
Stairs
17 | S3.0 | 16/S4.2 | Concrete Steps, 7" Riser, 10-1/2" Tread | 27 | 0% | 27 | RISER | 200 | 5400
Concrete For Slab
18 | S1.0 | 1/S4.0 | 4" (Min.) Thick Concrete Slab W/ 6X6/W1.4X 1.4 W.W.M. On 6 Mil. Visqueen On Well Compacted (2500 Psf Min.) Termite Treated Soil | 5113 | 5% | 5368.65 | SF | 7.2 | 38654.28
19 | S1.0 | 2/S4.0 | 4" Concrete Slab W/ 6"X6"/ W1.4X W1.4 W.W.M. On Exterior Grade High Density Foam Insert. Attach With 12" Long #5 Bars @24" O.C. Doweled And Epoxied Into Filled Masonry Walls (4" Min. Embed.) | 453 | 5% | 475.65 | SF | 7.2 | 3424.68
20 | S1.0 | 4/S4.0 | 4" Concrete Slab With 8" Thickened Edge W/ (1) #5 Bar On Grade W/6"X6"/ W1.4X W1.4 W.W.F. On 6 Mil. Poly Vapor Barrier On Well Compacted Termite Treated Soil | 1009 | 5% | 1059.45 | SF | 7.2 | 7628.04
21 | S2.2 | 1/S4.2 | 6" (5000 Psi Min.) Concrete Slab With 6"X6" /W1.4X W1.4 W.W.M. On 6 Mil. Visqueen On Termite Treated Soil (2500 Psf Min.) W/ #4 Bars @12" O.C. Each Way Additional Reinforcement | 244 | 5% | 256.2 | SF | 7.6 | 1947.12
Additional Reinforcement
22 | S1.0 | 3/S4.0 | #5 Bars 4'-0" Long | 14 | 0% | 14 | EA | 1.33 | 18.62
Concrete For Beams
23 | S2.0 | 4/S7.0 | Concrete For Beam Reinforced With (2) #5'S Top Bars, (2) #5'S Bottom Bars, #3 Hoops @8" O.C. | 0.88889 | 8% | 0.96 | CY | 800 | 768
24 | S2.0 | 5/S7.0 | Concrete For Beam Reinforced With (2) #5'S Top Bars, (2) #5'S Bottom Bars, #3 Hoops @6" O.C. | 0.48148 | 8% | 0.52 | CY | 800 | 416
25 | S2.0 | 6/S7.0 | Concrete For Beam Reinforced With (2) #5'S Top Bars, (2) #5'S Bottom Bars, #3 Hoops @7" O.C. | 0.33333 | 8% | 0.36 | CY | 800 | 288
26 | S2.0 | 7/S7.0 | Concrete For Beam Reinforced With (2) #5'S Top Bars, (2) #5'S Bottom Bars, #3 Hoops @24" O.C. | 9 | 8% | 9.72 | CY | 800 | 7776
27 | S2.0 | 12/S7.1 | Concrete For Beam Reinforced With (2) #5 Mid Bars | 2.6296 | 8% | 2.84 | CY | 800 | 2272
Concrete For Foundation
28 | S1.0 |  | Concrete Foundation Reinforced W/ (1) #5 Continuous Top And (3) #5 Continuous Bottom W/ #5 Transvers Bars @12" O.C. | 6.48 | 8% | 6.9984 | CY | 750 | 5248.8
29 | S1.0 |  | Formed And Poured Concrete Footing (5000 Psi Min.) (3) #5 Bars Continuous Top W/ #5 Transvers Bars @12" O.C. Bottom | 50.48 | 8% | 54.5184 | CY | 750 | 40888.8
30 | S1.0 |  | Concrete Monolithic Mat Foundation (6000 Psi Min.) With 1 Layer Top And 1 Layer Bottom Reinforcing (#5 Bars @12" O.C. Each Way) | 46.22 | 8% | 49.9176 | CY | 760 | 37937.376
04. MASONRY | [10 empty] | 43565.522
31 | S3.2 | 11/S6.0 | 12" Concrete Masonry Unit Block Wall W/ (1) #5 Vertical Bars @24" O.C. And 3000 Psi Coarse Masonry Grout Filled Knock Out W/ Ladder Type #9 Ga. Dur-A-Wall @Each Coarse | 809 | 10% | 889.9 | SF | 11.03 | 9815.597
32 | S3.2 | 13/S6.0 | 8" Concrete Masonry Unit Block Wall W/ (1) #5 Vertical Bars @24" O.C. And 3000 Psi Coarse Masonry Grout Filled Knock Out W/ Ladder Type #9 Ga. Dur-A-Wall @Each Coarse | 3719 | 10% | 4090.9 | SF | 8.25 | 33749.925
05. METALS | [10 empty] | 15824.325
33 | S2.0 |  | 5/8"X10" Steel Flitch Plate, (6) 1/2" Dia X 6" Long Epcon Epoxy Threaded Rods @10-1/2" O.C. | 29 | 10% | 31.9 | LF | 5.6 | 178.64
34 | S2.0 |  | Steel Beam W8X35 | 99 | 10% | 108.9 | LF | 40 | 4356
Wall Studs
35 | A1.0 | 3/A8.0 | 5-1/2" Steel Studs @ 24" O.C | 1015 | 10% | 1116.5 | SF | 2.01 | 2244.165
36 | A1.0 | 2/A8.0 | 3 5/8" Metal Studs @ 24" O.C | 1240 | 10% | 1364 | SF | 1.58 | 2155.12
37 | A1.0 | 4/A8.0 | 1 5/8" Metal Furring @ 24" O.C | 2552 | 10% | 2807.2 | SF | 1.2 | 3368.64
Metal Track
38 | A1.0 | 2/A8.0 | 3-5/8" Metal Top Track | 183 | 10% | 201.3 | LF | 4 | 805.2
39 | A1.0 | 2/A8.0 | 3-5/8" Metal Bottom Track | 183 | 10% | 201.3 | LF | 3.6 | 724.68
40 | A1.0 | 3/A8.0 | 5-1/2" Metal Top Track | 112 | 10% | 123.2 | LF | 4.1 | 505.12
41 | A1.0 | 3/A8.0 | 5-1/2" Metal Bottom Track | 112 | 10% | 123.2 | LF | 3.7 | 455.84
42 | A1.0 | 4/A8.0 | 1-5/8" Metal Top Track | 284 | 10% | 312.4 | LF | 1.8 | 562.32
43 | A1.0 | 4/A8.0 | 1-5/8" Metal Bottom Track | 284 | 10% | 312.4 | LF | 1.5 | 468.6
06. WOOD, PLASTICS AND COMPOSITES | [10 empty] | 44874.8
44 | S4.0 | 2/S8.5 | 1.75"X14" Laminated Veneer Lumber | 18 | 10% | 19.8 | LF | 14.2 | 255.6
45 | S4.0 | 3/S8.5 | 2X12 Pressure Treaded Ripped | 46 | 10% | 50.6 | LF | 12 | 552
46 | S4.0 | 4/S8.5 | 2X12 Wood Beam W/ 1/2" Plywood Gussets | 6 | 10% | 6.6 | LF | 12.2 | 73.2
47 | S4.0 | 6/S8.6 | 2X6 Pressure Treated Plate Fasten To Footing W/ 5/8"Dia X 8" Long (Min.) Expansion Bolt @16" O.C. | 43 | 10% | 47.3 | LF | 6.8 | 292.4
48 | S4.0 | 2/S8.8 | 2X8 Pressure Treated Ledger Attached To Beam Or Grout Cell With Epoxy Set 5/8" Dia All Threaded @12" O.C. Staggered 4" Amd From The Ends | 42 | 10% | 46.2 | LF | 7.3 | 306.6
Joists, Rafters And Trusses
49 | S4.1 |  | 4X6 Cypress Rafters @24" O.C. | 220 | 10% | 242 | SF | 5.2 | 1144
50 | S4.1 |  | New Pre-Engineered Wood Trusses @24" O.C. Bracing Per Truss Manufacturer | 5792 | 10% | 6371.2 | SF | 2.4 | 13900.8
Wall Studs
51 | A1.0 |  | 2X4 Pressure Treated Wood Studs @ 16" O.C | 401 | 10% | 441.1 | SF | 2.2 | 882.2
OSB
52 | S4.0, S4.1, S4.2 |  | 90# Felt Hot Mopped Over 30# Felt Tin Tagged To 3/4" Cdx Plywood Sheathing Attached With 10D Ring Shank Nails @6" O.C. Ay Field And 4" O.C. At Edges All Zones And Through Aut Zone 3 | 6012 | 10% | 6613.2 | SF | 4 | 24048
Cabinetry And Millwork
53 | MW1.0 |  | 2'-6" Long X 2'-0" Deep X 3'-0" High Built In Cabinets | 4 | 10% | 4.4 | EA | 450 | 1800
54 | MW1.0 |  | 3'-0" Long X 1'-0" Deep X 3'-0" Wall Base Cabinets | 2 | 10% | 2.2 | EA | 360 | 720
55 | MW1.0 |  | 3'-0" Long X 2'-0" Deep X 3'-0" High Base Cabinet | 2 | 10% | 2.2 | EA | 450 | 900
07. THERMAL AND MOISTURE CONDITIONS | [10 empty] | 56090.96
56 | A1.3 |  | Clay Barrel Tile Roofing | 5792 | 10% | 6371.2 | SF | 5.08 | 29423.36
57 | A1.3 |  | Spray In Foam Insulation (Install Per Manufacturer Specification) | 5792 | 10% | 6371.2 | SF | 1.8 | 10425.6
58 | A1.3 |  | Copper Drip | 337.6 | 10% | 371.36 | LF | 35 | 11816
59 | A1.0 | 7/A4.5 | Sound Attenuation Batt Insulation | 1064 | 10% | 1170.4 | SF | 2.2 | 2340.8
60 | A1.0 |  | 5.5 Sound Batt Insulation | 401 | 10% | 441.1 | SF | 5.2 | 2085.2
08. OPENINGS | [10 empty] | 22323
Doors
61 | A1.0 | DOOR SCHEDULE | 2'-10" X 7'-6" Wood French Swing Door | 11 | 0% | 11 | EA | 720 | 7920
62 | A1.0 | DOOR SCHEDULE | 3'-0" X 7'-6" Metal Swing Door | 11 | 0% | 11 | EA | 750 | 8250
63 | A1.0 | DOOR SCHEDULE | 6'-0" X 6'-10" Over Head Wood/Aluminum Door | 1 | 0% | 1 | EA | 650 | 650
64 | A1.0 | DOOR SCHEDULE | 9'-0" X 7'-6" Double Pocket Metal Door | 1 | 0% | 1 | EA | 850 | 850
Windows
65 | A1.0 | WINDOW SCHEDULE | 30" X 72" Fiberglass Wood Arched Mahogany Windows With Decorative Hinged Wood Shutters | 3 | 0% | 3 | EA | 437 | 1311
66 | A1.0 | WINDOW SCHEDULE | 40"X66" Double Casement Wood Mahogany Windows With Decorative Hinged Wood Shutters With Shutters With Shutter Dogs Paint Finish: Green | 6 | 0% | 6 | EA | 557 | 3342
09. FINISHES | [10 empty] | 119144.032
Dry Walls
67 | A1.0 |  | 5/8" Gypsum Wall Board | 6352 | 10% | 6987.2 | SF | 1.51 | 9591.52
Floor Finishes
68 | A1.0 | FINISH SCHEDULE | Ceramic Tile Flooring | 175 | 10% | 192.5 | SF | 10.18 | 1781.5
69 | A1.0 | FINISH SCHEDULE | Vinyl Tile Flooring | 4748 | 10% | 5222.8 | SF | 4.32 | 20511.36
70 | A1.0 | FINISH SCHEDULE | Rough Broom Finish On Ramp | 1160 | 10% | 1276 | SF | 0.46 | 533.6
Ceiling Materials
71 | A1.0 | FINISH SCHEDULE | 5/8" Drywall Applied To Resilient Metal Channel Furring @ 16" O.C | 4928 | 10% | 5420.8 | SF | 5 | 24640
72 | A1.0 | FINISH SCHEDULE | Cypress Tongue And "V" Grove Soffits | 506.25 | 10% | 556.875 | SF | 6.14 | 3108.375
Wall Finishes
73 | A1.0 | FINISH SCHEDULE | Ceramic Wall Tile | 471.55 | 10% | 518.705 | SF | 11.14 | 5253.067
74 | A1.0 | FINISH SCHEDULE | Paint On Walls | 6352 | 10% | 6987.2 | SF | 1.7 | 10798.4
Base, Crown And Trim
75 | A1.0 | FINISH SCHEDULE | Base | 830.5 | 10% | 913.55 | LF | 6.5 | 5398.25
76 | A1.0 | FINISH SCHEDULE | Crown | 924 | 10% | 1016.4 | LF | 6.14 | 5673.36
Exterior Finishes
77 | A5.0 |  | 4X6 Cypress Rafter Tail | 116 | 0% | 116 | EA | 5.5 | 638
78 | A5.0 |  | Paint And 3/4" Stucco Finish | 2458 | 10% | 2703.8 | SF | 12.7 | 31216.6
10. SPECIALTIES | [10 empty] | 28479.124
79 | A1.0. |  | 8" Of 3/4" Drain Rock In Marafi 1400 Filter Wrap | 227 | 10% | 249.7 | CY | 8.3 | 1884.1
80 | A1.0. |  | Potting Soil | 952 | 10% | 1047.2 | CY | 6.2 | 5902.4
4'X2' Decorative Wall Fountain
81 |  |  | 10" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 55 | 55
82 |  |  | 28" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 70.3 | 70.3
83 |  |  | 6" Dia Cast Stone Half Round Bowl | 1 | 0% | 1 | EA | 48.3 | 48.3
84 |  |  | Cast Stone | 3 | 10% | 3.3 | SF | 45 | 135
85 |  |  | Ceramic Spanish Tile White And Blue Checked Pattern | 6 | 10% | 6.6 | SF | 14.8 | 88.8
86 |  |  | Ceramic Spanish Tile White And Blue Quatrefoil On White Field | 4 | 10% | 4.4 | SF | 16.1 | 64.4
Toilet Accessories
87 | A1.5, A1.6 |  | 2'-0" X 3'-0" Tempered Glass Mirror | 4 | 0% | 4 | EA | 105 | 420
88 | A1.5, A1.6 |  | 3'-0" Long Grab Bars | 4 | 0% | 4 | EA | 50.53 | 202.12
89 | A1.5, A1.6 |  | 3'-6" Long Grab Bars | 4 | 0% | 4 | EA | 53.4 | 213.6
90 | A1.5, A1.6 |  | 2'-0" Dia Decorative Vent | 1 | 0% | 1 | EA | 23.07 | 23.07
91 | A1.5, A1.6 |  | 2'-0" Wall Clock @ Exterior | 1 | 0% | 1 | EA | 107.33 | 107.33
92 | A1.5, A1.6 |  | 36" High Aluminum Handrail | 478.71 | 10% | 526.581 | LF | 38.4 | 18382.464
93 | A1.5, A1.6 |  | Fire Extinguishers | 4 | 0% | 4 | EA | 220.56 | 882.24
12. FURNISHING | [10 empty] | 2013.14
94 |  |  | Granite Counter Top | 31 | 10% | 34.1 | SF | 64.94 | 2013.14
22. PLUMBING | [10 empty] | 12402.76
Plumbing Fixtures
95 | P1.0 | FIXTURES SCHEDULE | Ada Water Closet, Manufacturer And Model No: A/S 3043. 102 Madera 1.6 Gpf, Trim: Open Front Seat, Elongated Bowl, Sloan 111-1.6, Manual Flush Valve | 4 | 0% | 4 | EA | 492.1 | 1968.4
96 | P1.0 | FIXTURES SCHEDULE | Lavatory, Manufacturer And Model No: A/S 0321.026 Declyn, Trim: A/S 2000.100 Single Handle Faucet. Provide W/0.5 Gpm Aerator, Grid Drain And Trap Wrap & Zurn Z1021 Trap Primer | 4 | 0% | 4 | EA | 321 | 1284
97 | P1.0 | FIXTURES SCHEDULE | Service Sink, Manufacturer And Model No: Fiat Tsb100, Trim: 830Aa Faucet With 832Aa Hose & Bracket. Provide W/ Vacuum Breaker, Floor Mounted 24X24X12 Mop Sink | 1 | 0% | 1 | EA | 500.1 | 500.1
98 | P1.0 | FIXTURES SCHEDULE | Ewc Hi-Lo Surface Mounted Refrigerated Drinking Fountain. Ada Compliant, Manufacturer And Model No: Elkay Eztl8C, Trim: Stainless Steel | 1 | 0% | 1 | EA | 875 | 875
99 | P1.0 | FIXTURES SCHEDULE | Floor Drain, Manufacturer And Model No: Zurn Z-415, Trim: C.I. Body & Nickle Bronze Cover | 4 | 0% | 4 | EA | 203.52 | 814.08
Plumbing Equipment's
100 | P4.0 |  | 2-1/2 Gallon Expansion Tank | 1 | 0% | 1 | EA | 190.7 | 190.7
101 | P4.0 |  | Building Recirculating Pump, Manufacturer And Model No: Taco #006-Bc4 Circulator, 4 Gpm @8 Ft Hd. 120V, 1-Phase, 1/40Hp | 1 | 0% | 1 | EA | 288.3 | 288.3
102 | P4.0 |  | Check Valve | 1 | 0% | 1 | EA | 212.2 | 212.2
103 | P4.0 |  | Digital Timer, Manufacturer And Model No: Taco #265-3 | 1 | 0% | 1 | EA | 114.18 | 114.18
104 | P4.0 |  | Electric Water Heater, Manufacturer And Model No: Bradford White #Re340S6, 40 Gallon Tank W/Dual Element, Non-Simultaneous Operation. 120/240V, 1-Phase, 4.5 Kw Provide With 2" Deep Drain Pan & Drain Valve | 1 | 0% | 1 | EA | 642 | 642
105 | P4.0 |  | Water Hammer Arrestor, Manufacturer And Model No: Zurn #1250 | 1 | 0% | 1 | EA | 75.3 | 75.3
Plumbing Valves
106 |  |  | Gate Valve | 2 | 0% | 2 | EA | 39.38 | 78.76
107 |  |  | Hose Bib | 4 | 0% | 4 | EA | 23.71 | 94.84
108 |  |  | Union | 2 | 0% | 2 | EA | 16.35 | 32.7
109 |  |  | Ball Valve | 5 | 0% | 5 | EA | 26.64 | 133.2
Pipes
110 | P1.0, P1.1, P1.3 |  | 1" Dia Piping | 45 | 10% | 49.5 | LF | 8.1 | 364.5
111 | P1.0, P1.1, P1.3 |  | 1/2" Dia Piping | 150 | 10% | 165 | LF | 6.8 | 1020
112 | P1.0, P1.1, P1.3 |  | 1-1/2" Dia Piping | 41 | 10% | 45.1 | LF | 10 | 410
113 | P1.0, P1.1, P1.3 |  | 2" Dia Piping | 59 | 10% | 64.9 | LF | 11.3 | 666.7
114 | P1.0, P1.1, P1.3 |  | 3" Dia Piping | 38 | 10% | 41.8 | LF | 12.5 | 475
115 | P1.0, P1.1, P1.3 |  | 3/4" Dia Piping | 169 | 10% | 185.9 | LF | 7 | 1183
116 | P1.0, P1.1, P1.3 |  | 4" Dia Piping | 71 | 10% | 78.1 | LF | 13.8 | 979.8
23. MECHANICAL/HVAC | [10 empty] | 13523.43
Mechanical Grille And Diffusers
117 | M1.0, M1.1 |  | 10X10 Ceiling Diffuser, 4-Way, Cfm: 120 | 1 | 0% | 1 | EA | 51.54 | 51.54
118 | M1.0, M1.1 |  | 10X10 Ceiling Diffuser, 4-Way, Cfm: 150 | 3 | 0% | 3 | EA | 51.5 | 154.5
119 | M1.0, M1.1 |  | 10X10 Ceiling Diffuser, 4-Way, Cfm: 165 | 2 | 0% | 2 | EA | 53 | 106
120 | M1.0, M1.1 |  | 12X12 Ceiling Diffuser, 4-Way, Cfm: 300 | 2 | 0% | 2 | EA | 55.54 | 111.08
121 | M1.0, M1.1 |  | 14X14 Ceiling Diffuser, 4-Way, Cfm: 425 | 4 | 0% | 4 | EA | 57.2 | 228.8
122 | M1.0, M1.1 |  | 18X18 Ceiling Diffuser, 1-Way, Cfm: 100 | 1 | 0% | 1 | EA | 68.34 | 68.34
123 | M1.0, M1.1 |  | 6X6 Ceiling Diffuser, 1-Way, Cfm: 25 | 2 | 0% | 2 | EA | 37.44 | 74.88
124 | M1.0, M1.1 |  | 8X8 Ceiling Diffuser, 1-Way, Cfm: 50 | 1 | 0% | 1 | EA | 41.44 | 41.44
125 | M1.0, M1.1 |  | 24X16 Return Air Grill | 2 | 0% | 2 | EA | 75.6 | 151.2
126 | M1.0, M1.1 |  | 18X18 Return Air Grill | 2 | 0% | 2 | EA | 73.1 | 146.2
127 | M1.0, M1.1 |  | 12X12 Return Air Grill | 6 | 0% | 6 | EA | 70.5 | 423
128 | M1.0, M1.1 |  | 14X14 Return Air Grill | 1 | 0% | 1 | EA | 68.1 | 68.1
Mechanical Equipment's
129 | M4.0 |  | Wall Mounted Thermostat | 2 | 0% | 2 | EA | 333.6 | 667.2
130 | M4.0 |  | 120V Duct Smoke Detector | 4 | 0% | 4 | EA | 210 | 840
131 | M4.0 |  | 18X18 Weatherproof Wall Louver With Bird Screen For Intake Ventilation Make-Up Air, Manufacturer And Model No: Greenheck #Esd-635X With Current Florida Product Approval | 2 | 0% | 2 | EA | 74.33 | 148.66
Exhaust Fan
132 | M1.0, M1.1 | SCHEDULE | Ceiling Mounted Exhaust Fan, Manufacturer And Model No: Greenheck Sp-A125, Cfm/S.P.: 100/0.25, Hp: Fractional, Rpm: 1100, Voltage: 120V/1-Phase | 4 | 0% | 4 | EA | 61.54 | 246.16
133 | M1.0, M1.1 | SCHEDULE | Centrifugal Exhaust Fan, Manufacturer And Model No: Greenheck Sq-120-Vg, Cfm/S.P.: 700/0.25, Hp: 1/8, Rpm: 860, Voltage: 120V/1-Phase | 1 | 0% | 1 | EA | 65.2 | 65.2
Air Handling Unit
134 | M 4.2 | SCHEDULE | Air Handling Unit, Manufacturer And Model No: Trane Tem3Aoc60S51, Cfm: 1750, Hp/Fla: 0.75/6.3, Heat Kw @208V: 6.0, Voltage-Phase: 230-208V/1-Phase, Weight: 138 Lbs | 2 | 0% | 2 | EA | 1963 | 3926
Condensing Unit
135 | M4.3 | SCHEDULE | Condensing Unit, Manufacturer And Model No: Trane 4Ttr6060B, Voltage-Phase: 240-208/1-Phase, Od Fan Fla: 0.93, Comp Fla: 26.4, Fuse: 60, Weight: 248 Lbs, Refrigerant: R-410 | 2 | 0% | 2 | EA | 430 | 860
Mechanical Air Devices
136 | M4.2 | SCHEDULE | Adjustable Blade Curved Blade Ceiling, Manufacturer And Model No: Titus 250-Aa, Construction: Aluminum, Surface Mounted | 1 | 0% | 1 | EA | 115.73 | 115.73
137 | M4.2 | SCHEDULE | 24X24 Return/Transfer Grille, Manufacturer And Model No: 4Fl-Aa, Construction: Aluminum, Surface Mounted | 1 | 0% | 1 | EA | 120 | 120
Flexible Ductwork
138 | M1.0, M1.1 |  | 10" Dia Flexible Ductwork | 47 | 10% | 51.7 | LF | 11.8 | 554.6
139 | M1.0, M1.1 |  | 12" Dia Flexible Ductwork | 46 | 10% | 50.6 | LF | 13 | 598
140 | M1.0, M1.1 |  | 16" Dia Flexible Ductwork | 6 | 10% | 6.6 | LF | 15.2 | 91.2
141 | M1.0, M1.1 |  | 4" Dia Flexible Ductwork | 59 | 10% | 64.9 | LF | 7 | 413
142 | M1.0, M1.1 |  | 5" Dia Flexible Ductwork | 11 | 10% | 12.1 | LF | 7.6 | 83.6
143 | M1.0, M1.1 |  | 6" Dia Flexible Ductwork | 44 | 10% | 48.4 | LF | 7.8 | 343.2
144 | M1.0, M1.1 |  | 7" Dia Flexible Ductwork | 22 | 10% | 24.2 | LF | 8 | 176
145 | M1.0, M1.1 |  | 8" Dia Flexible Ductwork | 92 | 10% | 101.2 | LF | 8.1 | 745.2
146 | M1.0, M1.1 |  | 8" Dia Flexible Ductwork, Down To Return Air Grille Plenum For Ventilation Air. Provide Motorized Damper Interconnected To The Ahu Fan Motor In This Duct, 180 Cfm | 22 | 10% | 24.2 | LF | 9.3 | 204.6
Rectangular Ductwork
147 | M1.0, M1.1 |  | 10X10 Rectangular Duct | 14 | 10% | 15.4 | LF | 10.4 | 145.6
148 | M1.0, M1.1 |  | 10X12 Rectangular Duct | 7 | 10% | 7.7 | LF | 10.6 | 74.2
149 | M1.0, M1.1 |  | 12X16 Rectangular Duct | 14 | 10% | 15.4 | LF | 11 | 154
150 | M1.0, M1.1 |  | 14X12 Rectangular Duct | 19 | 10% | 20.9 | LF | 11 | 209
151 | M1.0, M1.1 |  | 14X14 Rectangular Duct | 30 | 10% | 33 | LF | 11.2 | 336
152 | M1.0, M1.1 |  | 18X12 Rectangular Duct | 17 | 10% | 18.7 | LF | 11.4 | 193.8
153 | M1.0, M1.1 |  | 18X16 Rectangular Duct | 42 | 10% | 46.2 | LF | 11.8 | 495.6
154 | M1.0, M1.1 |  | 6X8 Rectangular Duct | 9 | 10% | 9.9 | LF | 10.2 | 91.8
26. ELECTRICAL | [10 empty] | 41238.76
Lighting Fixtures
155 | E2.1, E2.2 |  | 2X2 Fluorescent Lighting Fixture | 77 | 0% | 77 | EA | 166.74 | 12838.98
156 | E2.1, E2.2 |  | Ceiling Mounted Recessed Down Lights | 68 | 0% | 68 | EA | 52.44 | 3565.92
157 | E2.1, E2.2 |  | Emergency Exit Sign | 13 | 0% | 13 | EA | 107 | 1391
158 | E2.1, E2.2 |  | Wall Mounted Emergency Light | 17 | 0% | 17 | EA | 156 | 2652
159 | E2.1, E2.2 |  | Step Lights | 12 | 0% | 12 | EA | 10 | 120
160 | E2.1, E2.2 |  | Surface Light | 27 | 0% | 27 | EA | 17.3 | 467.1
Electrical Power Fixtures
161 | E2.3, E2.4 |  | 4'X8'X3/4" Telephone Board | 1 | 0% | 1 | EA | 75.91 | 75.91
162 | E2.3, E2.4 |  | Disconnect Switch | 3 | 0% | 3 | EA | 33.13 | 99.39
163 | E2.3, E2.4 |  | Duplex Outlet Receptacle | 47 | 0% | 47 | EA | 130 | 6110
164 | E2.3, E2.4 |  | Junction Box 4" Square | 5 | 0% | 5 | EA | 23 | 115
165 | E2.3, E2.4 |  | Motor | 4 | 0% | 4 | EA | 794 | 3176
166 | E2.3, E2.4 |  | Motor With Disconnect Switch | 3 | 0% | 3 | EA | 825 | 2475
167 | E2.3, E2.4 |  | Duplex Outlet Receptacle Ground Fault Interrupter | 9 | 0% | 9 | EA | 17.63 | 158.67
168 | E2.3, E2.4 |  | Quad-Plex Receptacle | 1 | 0% | 1 | EA | 46.97 | 46.97
169 | E2.3, E2.4 |  | Duplex Outlet Receptacle Ground Fault Interrupter Weatherproof | 6 | 0% | 6 | EA | 234.55 | 1407.3
170 | E2.3, E2.4 |  | Telephone/Data Outlet | 6 | 0% | 6 | EA | 115 | 690
171 | E2.3, E2.4 |  | Television Outlet | 8 | 0% | 8 | EA | 110 | 880
172 | E2.3, E2.4 |  | Toggle Type Wall Switch | 4 | 0% | 4 | EA | 30.56 | 122.24
173 | E2.3, E2.4 |  | Toggle Type Wall Switch 3-Way | 8 | 0% | 8 | EA | 38.52 | 308.16
174 | E2.3, E2.4 |  | Toggle Type Wall Switch 4-Way | 2 | 0% | 2 | EA | 40.2 | 80.4
175 | E2.3, E2.4 |  | New 20 Amp Power Pack That Is Controlled By The Occupancy Sensor. Watt Stopper #Bz-50 | 7 | 0% | 7 | EA | 55 | 385
176 | E2.3, E2.4 |  | New Low Volt Ceiling Mounted Occupancy Sensor To Control The Power Pack. Watt Stopper #Dt-350 | 13 | 0% | 13 | EA | 69.5 | 903.5
177 | E2.3, E2.4 |  | Wall Switch W/ 3-Way Occupancy Sensor & Built In Power Pack. Watt Stopper #Pw-100 | 2 | 0% | 2 | EA | 40 | 80
178 | E2.3, E2.4 |  | Wall Switch W/ Occupancy Sensor & Built In Power Pack. Watt Stopper #Pw-100 | 14 | 0% | 14 | EA | 41.98 | 587.72
Electrical Panels
179 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electrical Panel, Voltage: 120/208V, Phase: 3-Phase, 4-Wire, Amp Bus: 400 | 1 | 0% | 1 | EA | 1373.5 | 1373.5
180 | E4.0 | PANEL SCHEDULE/RISER DIAGRAM | Electrical Panel, Voltage: 120/208V, Phase: 3-Phase, 4-Wire, Amp Bus: 100 | 1 | 0% | 1 | EA | 1129 | 1129
31. EARTHWORK | [10 empty] | 16093
181 | C1.1 |  | Excavation of earth including excavation and dumping off soil | 121 | 0% | 121 | CY | 133 | 16093
|  |  |  | Sub Total |  |  |  |  | 615543.345 |  | 615543.345
|  |  |  | Over Heads & Profit @ (25%) |  |  |  |  | 153885.8362 |  | 153885.8363
|  |  |  | Net Total |  |  |  |  | 769429.1812 |  | 769429.1813