## Sheet1
MATERIAL TAKEOFF AND COST ESTIMATE
Job Name | Plumbing Sample
Location | - |  |  | Customer ID | -
Contact | - |  |  | Quote No. | -
Email | - |  |  | Date | -
Sr # | DRAWING REF. | DETAIL REF. | DESCRIPTION | QUANTITY | WASTAGE | TOTAL QTY | UOM | COST/UNIT | TOTAL ITEM COST | REMARKS | TRADE COST
22. PLUMBING | [10 empty] | 12402.76
Plumbing Fixtures
1 | P1.0 | FIXTURES SCHEDULE | Ada Water Closet, Manufacturer And Model No: A/S 3043. 102 Madera 1.6 Gpf, Trim: Open Front Seat, Elongated Bowl, Sloan 111-1.6, Manual Flush Valve | 4 | 0% | 4 | EA | 492.1 | 1968.4
2 | P1.0 | FIXTURES SCHEDULE | Lavatory, Manufacturer And Model No: A/S 0321.026 Declyn, Trim: A/S 2000.100 Single Handle Faucet. Provide W/0.5 Gpm Aerator, Grid Drain And Trap Wrap & Zurn Z1021 Trap Primer | 4 | 0% | 4 | EA | 321 | 1284
3 | P1.0 | FIXTURES SCHEDULE | Service Sink, Manufacturer And Model No: Fiat Tsb100, Trim: 830Aa Faucet With 832Aa Hose & Bracket. Provide W/ Vacuum Breaker, Floor Mounted 24X24X12 Mop Sink | 1 | 0% | 1 | EA | 500.1 | 500.1
4 | P1.0 | FIXTURES SCHEDULE | Ewc Hi-Lo Surface Mounted Refrigerated Drinking Fountain. Ada Compliant, Manufacturer And Model No: Elkay Eztl8C, Trim: Stainless Steel | 1 | 0% | 1 | EA | 875 | 875
5 | P1.0 | FIXTURES SCHEDULE | Floor Drain, Manufacturer And Model No: Zurn Z-415, Trim: C.I. Body & Nickle Bronze Cover | 4 | 0% | 4 | EA | 203.52 | 814.08
Plumbing Equipment's
6 | P4.0 |  | 2-1/2 Gallon Expansion Tank | 1 | 0% | 1 | EA | 190.7 | 190.7
7 | P4.0 |  | Building Recirculating Pump, Manufacturer And Model No: Taco #006-Bc4 Circulator, 4 Gpm @8 Ft Hd. 120V, 1-Phase, 1/40Hp | 1 | 0% | 1 | EA | 288.3 | 288.3
8 | P4.0 |  | Check Valve | 1 | 0% | 1 | EA | 212.2 | 212.2
9 | P4.0 |  | Digital Timer, Manufacturer And Model No: Taco #265-3 | 1 | 0% | 1 | EA | 114.18 | 114.18
10 | P4.0 |  | Electric Water Heater, Manufacturer And Model No: Bradford White #Re340S6, 40 Gallon Tank W/Dual Element, Non-Simultaneous Operation. 120/240V, 1-Phase, 4.5 Kw Provide With 2" Deep Drain Pan & Drain Valve | 1 | 0% | 1 | EA | 642 | 642
11 | P4.0 |  | Water Hammer Arrestor, Manufacturer And Model No: Zurn #1250 | 1 | 0% | 1 | EA | 75.3 | 75.3
Plumbing Valves
12 |  |  | Gate Valve | 2 | 0% | 2 | EA | 39.38 | 78.76
13 |  |  | Hose Bib | 4 | 0% | 4 | EA | 23.71 | 94.84
14 |  |  | Union | 2 | 0% | 2 | EA | 16.35 | 32.7
15 |  |  | Ball Valve | 5 | 0% | 5 | EA | 26.64 | 133.2
Pipes
16 | P1.0, P1.1, P1.3 |  | 1" Dia Piping | 45 | 10% | 49.5 | LF | 8.1 | 364.5
17 | P1.0, P1.1, P1.3 |  | 1/2" Dia Piping | 150 | 10% | 165 | LF | 6.8 | 1020
18 | P1.0, P1.1, P1.3 |  | 1-1/2" Dia Piping | 41 | 10% | 45.1 | LF | 10 | 410
19 | P1.0, P1.1, P1.3 |  | 2" Dia Piping | 59 | 10% | 64.9 | LF | 11.3 | 666.7
20 | P1.0, P1.1, P1.3 |  | 3" Dia Piping | 38 | 10% | 41.8 | LF | 12.5 | 475
21 | P1.0, P1.1, P1.3 |  | 3/4" Dia Piping | 169 | 10% | 185.9 | LF | 7 | 1183
22 | P1.0, P1.1, P1.3 |  | 4" Dia Piping | 71 | 10% | 78.1 | LF | 13.8 | 979.8
|  |  |  | Sub Total |  |  |  |  | 12402.76 |  | 12402.76
|  |  |  | Over Heads & Profit @ (25%) |  |  |  |  | 3100.69 |  | 3100.69
|  |  |  | Net Total |  |  |  |  | 15503.45 |  | 15503.45